# Diffusion MRI — Technical Validation

| QC item | Status |
| --- | --- |
| BIDS consistency | PASS |
| NIfTI integrity | PASS |
| b-values | PASS |
| b-vectors | PASS |
| JSON metadata | PASS |
| Gradient orientation | PASS* |
| Brain mask | PASS |
| Signal quality | PASS |
| Motion estimates | N.A. |
| Susceptibility pairs | PASS |
| Visual inspection | PASS |
| Overall technical validation | PASS |